## Slide 1: RGBD Cameras’ Per-Pixel Calibration and Natural 3D Reconstruction on GPU
Dr. Lau, advisor
Dr. Hastings, committee member
Dr. Cheung, committee member
Presented By: Sen Li

## Slide 2: Outline
Introduction
Academic Background:
  Pinhole Camera Model (Camera calibration / 3D reconstruction)
  Kai’s per-pixel 3D reconstruction on GPU
  Distortions
Per-Pixel Distortion Correction & Natural GPU Reconstruction:
  Calibration system
  Calibration procedures
  Undistorted 3D Reconstruction
Conclusion & Future Work

## Slide 3
Object Segmentation in KinectFusion

## Slide 4
Pinhole-Camera Model

## Slide 5
Pinhole-Camera Model

## Slide 6
Pinhole-Camera Model

## Slide 7
Traditional Reconstruction
(Calibrate M and then Inverse)
KinectV2: Raw 3D Reconstruction on GPU based on (Intrinsic K)
Kai’s : Natural Shader Reconstruction on GPU

## Slide 8
Raw 3D Reconstruction on GPU based on (Intrinsic K)

## Slide 9
Raw KinectV2 3D Reconstruction
lens Distortion
Depth Distortion

## Slide 10
From Camera Space to Image Space with Lens Distortions

## Slide 11: Academic Background
Pinhole-Camera Model
(Calibration and Reconstruction)
Intrinsic Matrix
Extrinsic Matrix
Pinhole Camera Matrix :
Distortion Parameters:
Notes: Note that, in Kai’s work only offers an inspiration for parallel processing, did not offer a complete calibration method, because he did not offer the method to get Zw.

## Slide 12
Inspiration: find a way to get per-pixel
Traditional Undistorted Reconstruction
(High Order and Inverse)
Distortion Parameters:
Want: Undistorted Natural 3D Reconstruction on GPU
Kai’s : “Natural” Shader Reconstruction ( High Order )

## Slide 13
Rail Calibration System

## Slide 14: Data Collection
Mount: camera and laser distance measurer
Want:
  NIR:
  RGB:
Bound:
  : Laser Distance Measurer
  : Uniform Round Dot Pattern
Found (algorithms):
  Calibration Points (Row, Col)s Extraction;
  Corresponding World Space Address Assignment;
  Non-Linear Dense Transformation

## Slide 15
Gray-Scaling (luminosity method)
Calibration Points (Row, Col) Extraction;
Histogram Equalization
Adaptive Thresholding
Round Dot Tracking

## Slide 16
Raw NIR Image
After Historgram Equalization

## Slide 17
Historgram Equalized
Binarized
Adaptive Thresholding

## Slide 18
Round Dot Tracking
Anchor !=0  Detect Valid  Flip Valid  Get Area + Bounding Box

## Slide 19
Binarized Image
Dots’ Centers Extracted
Traverse and Extract on CPU

## Slide 20
World Space Address Assignment
• Travers every 4 Square-Shaped points and find best A0 ,
which corresponds to the best-fit “Unit One” (228mm) in Image Space:
Get Linear Mapping matrix A0  Transform all (R, C) to (XW, YW)
 Count (Nv) valid points with integer XW/YW  Find best A0 who generates the largest Nv.
Translate Origin to the Center Dot

## Slide 21
Image Space Calibration Points
Assigned World Space XwYw
World Space Address Assignment

## Slide 22
Two Dimensional Polynomial Mapping
(First Order Perspective Transformation)
Second Order
Fourth Order

## Slide 26
Staggered
Unified
63 frames from 1.165m to 2.565m, 25mm / frame

## Slide 27
Frustum
Linear Zw to XwYw : Pixels’ View
63 frames, generate Pixels’ Beam Equations

## Slide 28
Per-Pixel D to ZW mapping
Data at pixel (212, 256)
from 32 frames
D to ZW Polynomial Fit
Linear in this example

## Slide 29: Generate Look-Up Table
Size: Width - Height - 6 (512*424*6)
Data:
Pre-Process: (for every frame)
  Find best-fit plane equation
  Throw away 10% pixels of worst D
Mappings:
  Fragment Shader: 3 per-pixel linear mappings, 6 parameters

## Slide 30
Raw Pin-Hole Reconstructions
Transformed
into World Space
By
Best-Fit Rotation and Translation
Depth Distortion Correction
Calibrated LUT Reconstructions

## Slide 31
Before
Calibration
Calibrated

## Slide 32
Before Calibration
Lens Distortion Correction
Calibrated

## Slide 33: Conclusion
Rail System
  Infinite frames of data, dense calibration points, per-pixel D to ZW mapping
Data Collection (Per-Frame)
  Get ZW from laser distance measurer ;
  Robust calibration points’ extraction ;
    Histogram Equalization, Adaptive Thresholding, Round Dots’ Tracking
  Assign world space coordinates to calibration points ;
  Determine two-dimensional fourth order polynomial mapping ;
  Generate dense undistorted XWYW .
Pre-Process
  Unify staggered frames
  Throw away 10% noise pixels
Generate LUT: Width - Height - 6 (512*424*6)
3D Reconstruction: Undistorted 3D Reconstruction, No model, Only Textures

## Slide 34: Future Works
Hard Ware
  Longer rail: segmented D to ZW mapping in case a rough extrapolation;
  Pattern Size and Distribution: based on resolution ;
  2D pattern to 3D pattern: in case NIR streams cannot be used, 3D pattern for depth streams analysis ;
  Tracking module on rail: to substitute laser distance measure, such that it is possible to input ZW record frames automatically.
Software
  Better DIP techniques ;
  Higher order polynomial ZW to XWYW mapping.

## Slide 35: Questions?